## Sheet1
criteria | exclude | data source | Note
landcover (code) | see below | ESAworldcover | copy table for multiple scenarios and distinguish between solar and wind
Tree (10) | 0m
Shrubland (20) | - |  | Legend
Grassland (30) | - |  | - | don’t exclude
Cropland (40) | 0m |  | 0m | exclude, but no buffer
Built-up (50) | <100m
Bare / sparse vegetation (60) | -
Snow and ice (70) | 0m
Permanent waterbodies (80) | 0m
Herbaceous wetland (90) | 0m
Mangroves (95) | 0m
Moss and lichen (100) | 0m
elevation | >2000m | GEBCO
slope | >15° | calculated based on GEBCO
population | >3 | worldpop
railways | <100m | OSM
roads | <100m | OSM
airports | <5000m | OSM
waterbodies | <100m | OSM
military | <100m | OSM
coastlines | <500m | GOAS
protected areas | 0m | WDPA
transmission lines | <100m & >50000m | OSM
substations | - | OSM
exising generators | - | OSM
existing power plants | - | OSM
solar prodcution | <1000 kWh/kW/year | GSA
wind speed | <4.5 m/s @100m | GWA
pixels connected (filter) | <5